Standard Operating Procedure

________________________________________________________

Read the EH&S Standard Operating Procedures Fact Sheet before filling out this form. Print out the completed form and keep a readily accessible hard copy in the lab (also keeping an electronic copy is highly recommended).

______________________________________________________

Date:

SOP Title:  		Contour Glass Solvent system

Principal Investigator:

Room and Building:

Lab Phone Number:

Section 1 – Process

Procedure for obtaining anhydrous, oxygen-free solvent

Section 2 – Hazardous Chemicals

Tetrahydrofuran, diethyl ether, benzene, toluene, acetonitrile, triethylamine, methanol. Organic solvents are flammable, so keep away from heat and sources of ignition.

Section 3 – Potential Hazards

Organic solvents are flammable, so prevent exposure to sparks, heat and other sources of ignition. Solvents are also irritants, so avoid contact to skin and eyes. Use appropriate personal propective Equipment: safety glasses, gloves, and lab coat.

Section 4 – Approvals Required

Training and approval by Sarpong group solvent system operator is required prior to use.

Section 5 – Designated Area

Solvent system should be used in the designated hood in 849 Latimer. Solvent may be transported in a syringe or flask to fume hood in user’s lab using appropriate technique.

Section 6 – Special Handling Procedures and Storage Requirements

Standard Schlenk technique should be used to dispense solvent from solvent system.

Section 7 – Personal Protective Equipment

Safety glasses, chemically-resistant gloves, lab coat.

Section 8 – Engineering/Ventilation Controls

Dispensing and use of solvent should always occur inside a fume hood.

Section 9 – Spill and Accident Procedures

In case of solvent contact with skin or eyes, flush affected area with water for 10-15 minutes. Remove contaminated clothing. Use spill Kit to absorb solvent that was released and place in appropriate waste container.

Section 10 – Waste Disposal

Solvent waste can be disposed of in EH&S liquid waste containers.

Section 11 - Decontamination

Remove all contaminated clothing and wash affected area with water for 10-15 minutes.